## Tag-Device-Location-PLCSafetyRe
OPERATOR / SAFETY / SENSOR DEVICE SCHEDULE
Tag | Device | Location | PLC / Safety Reference | Cable Group
ES-01 | Emergency Stop Mushroom PB | Panel Door | SR-01 Safety Circuit / DWG 006 | Door Harness
PB-01 | Start Push Button | Panel Door | PLC P01 / TB-IN:02 / DWG 007 | Door Harness
PB-02 | Normal Stop Push Button | Panel Door | PLC P02 / TB-IN:03 / DWG 007 | Door Harness
PB-03 | PLC Alarm Reset Push Button | Panel Door | PLC P03 / TB-IN:04 / DWG 007 | Door Harness
DR-01 | Guard Door Interlock | Machine Guard Door | Safety: DWG 006 / AUX: PLC P07 | CG-01
PE-01 | Infeed Presence Sensor | Conveyor Infeed | PLC P04 / TB-IN:05 | CG-01
PE-02 | Test Position Sensor | Test Station | PLC P05 / TB-IN:06 | CG-01
PE-03 | Outfeed Confirm Sensor | Conveyor Outfeed | PLC P06 / TB-IN:07 | CG-01
LS-01 | Clamp Closed Feedback | Test Clamp | PLC P08 / TB-IN:09 | CG-01
LS-02 | PASS Gate Position | PASS Gate | PLC P09 / TB-IN:10 | CG-01
LS-03 | FAIL Gate Position | FAIL Gate | PLC P0A / TB-IN:11 | CG-01
LS-04 | RETEST Gate Position | RETEST Gate | PLC P0B / TB-IN:12 | CG-01