## Testcontrolitem-Projectvalue
TEST CONTROL / RESULT LEGEND
Test control item | Project value
Test scope | HMI-01 / PLC-01 / MCU-01 Interface Verification
Test type | FAT / SAT / Commissioning
HMI application | LabVIEW SCADA Application
PLC communication | Modbus TCP / Ethernet
MCU communication | Modbus RTU / RS-485
Nominal poll interval | 250 ms
Response timeout | 1000 ms
Maximum automatic read/poll retry | 3 attempts